## Exported Results
Block Type | 384-Well Block
Calibration Background is expired | No
Calibration Background performed on | 01-13-2022
Calibration Normalization FAM-ROX is expired | No
Calibration Normalization FAM-ROX performed on | 10-06-2021
Calibration Normalization VIC-ROX is expired | No
Calibration Normalization VIC-ROX performed on | 10-06-2021
Calibration Pure Dye FAM is expired | No
Calibration Pure Dye FAM performed on | 10-06-2021
Calibration Pure Dye NED is expired | No
Calibration Pure Dye NED performed on | 10-06-2021
Calibration Pure Dye ROX is expired | No
Calibration Pure Dye ROX performed on | 10-06-2021
Calibration Pure Dye SYBR is expired | No
Calibration Pure Dye SYBR performed on | 10-06-2021
Calibration Pure Dye TAMRA is expired | No
Calibration Pure Dye TAMRA performed on | 10-06-2021
Calibration Pure Dye VIC is expired | No
Calibration Pure Dye VIC performed on | 10-06-2021
Calibration ROI is expired | No
Calibration ROI performed on | 10-06-2021
Calibration Uniformity is expired | No
Calibration Uniformity performed on | 10-06-2021
Chemistry | TAQMAN
Date Created | 2022-02-24 11:46:50 AM GMT
Experiment Barcode
Experiment Comment
Experiment File Name | D:\Users\Administrator\Desktop\FELIX\Felix OPLA vs POLA 2.eds
Experiment Name | Felix OPLA vs POLA 2
Experiment Run End Time | 2022-02-24 12:45:21 PM GMT
Experiment Type | Standard Curve
Instrument Name | HotPants
Instrument Serial Number | 278871706
Instrument Type | QuantStudio(TM) 7 Flex System
Passive Reference | ROX
Quantification Cycle Method | Ct
Signal Smoothing On | true
Stage/ Cycle where Analysis is performed | Stage 2, Step 2
User Name
Well Position | Sample Name | Target Name | CT | Sample Name
A1 | Blank 1.a | LC3 | Undetermined | Blank 1.a
A2 | Blank 1.b | LC3 | Undetermined | Blank 1.b
A3 | Blank 1.c | LC3 | Undetermined | Blank 1.c
A4 | STD 10a | LC3 | 32.1103 | STD 10a
A5 | STD 10b | LC3 | 32.4167 | STD 10b
A6 | STD 10c | LC3 | 32.2841 | STD 10c
A7 | STD 20a | LC3 | 34.3214 | STD 20a
A8 | STD 20b | LC3 | 33.3549 | STD 20b
A9 | STD 20c | LC3 | 33.3327 | STD 20c
A10 | STD 40a | LC3 | 35.1671 | STD 40a
A11 | STD 40b | LC3 | 34.9752 | STD 40b
A12 | STD 40c | LC3 | 34.6437 | STD 40c
A13 | STD 80a | LC3 | 36.926 | STD 80a
A14 | STD 80b | LC3 | 35.9661 | STD 80b
A15 | STD 80c | LC3 | 35.3458 | STD 80c
A16 | STD 160a | LC3 | 36.3207 | STD 160a
A17 | STD 160b | LC3 | 38.2752 | STD 160b
A18 | STD 160c | LC3 | 35.7121 | STD 160c
A19 | STD 320a | LC3 | 37.8685 | STD 320a
A20 | STD 320b | LC3 | 36.5725 | STD 320b
A21 | STD 320c | LC3 | Undetermined | STD 320c
A22 | C1.a | LC3 | 34.8391 | C1.a
A23 | C1.b | LC3 | 35.5444 | C1.b
A24 | C1.c | LC3 | 36.2138 | C1.c
B1 | C2.a | LC3 | 37.8943 | C2.a
B2 | C2.b | LC3 | 35.2528 | C2.b
B3 | C2.c | LC3 | 34.6222 | C2.c
B4 | C3.a | LC3 | 34.067 | C3.a
B5 | C3.b | LC3 | 35.3463 | C3.b
B6 | C3.c | LC3 | 34.8643 | C3.c
B7 | C4.a | LC3 | 34.5655 | C4.a
B8 | C4.b | LC3 | 35.7621 | C4.b
B9 | C4.c | LC3 | 34.9521 | C4.c
B10 | C5.a | LC3 | 35.1614 | C5.a
B11 | C5.b | LC3 | 34.4681 | C5.b
B12 | C5.c | LC3 | 34.5742 | C5.c
B13 | C6.a | LC3 | 35.2056 | C6.a
B14 | C6.b | LC3 | 34.5285 | C6.b
B15 | C6.c | LC3 | 34.9571 | C6.c
B16 | C7.a | LC3 | 35.4688 | C7.a
B17 | C7.b | LC3 | 33.9063 | C7.b
B18 | C7.c | LC3 | 34.0922 | C7.c
B19 | C8.a | LC3 | 34.4168 | C8.a
B20 | C8.b | LC3 | 35.1637 | C8.b
B21 | C8.c | LC3 | 33.283 | C8.c
B22 | C9.a | LC3 | 33.5852 | C9.a
B23 | C9.b | LC3 | 34.3379 | C9.b
B24 | C9.c | LC3 | 34.158 | C9.c
C1 | O1.a | LC3 | 35.4129 | O1.a
C2 | O1.b | LC3 | 34.5597 | O1.b
C3 | O1.c | LC3 | 34.9584 | O1.c
C4 | O2.a | LC3 | 34.759 | O2.a
C5 | O2.b | LC3 | 35.9419 | O2.b
C6 | O2.c | LC3 | 34.8528 | O2.c
C7 | O3.a | LC3 | 36.1846 | O3.a
C8 | O3.b | LC3 | 35.5146 | O3.b
C9 | O3.c | LC3 | 35.3979 | O3.c
C10 | O4.a | LC3 | 34.9413 | O4.a
C11 | O4.b | LC3 | 35.0186 | O4.b
C12 | O4.c | LC3 | 34.8866 | O4.c
C13 | O5.a | LC3 | 35.067 | O5.a
C14 | O5.b | LC3 | 35.5194 | O5.b
C15 | O5.c | LC3 | 35.967 | O5.c
C16 | O6.a | LC3 | 35.1276 | O6.a
C17 | O6.b | LC3 | 35.4869 | O6.b
C18 | O6.c | LC3 | 36.012 | O6.c
C19 | O7.a | LC3 | 35.6824 | O7.a
C20 | O7.b | LC3 | 34.943 | O7.b
C21 | O7.c | LC3 | 35.5422 | O7.c
C22 | O8.a | LC3 | 34.5768 | O8.a
C23 | O8.b | LC3 | 35.1248 | O8.b
C24 | O8.c | LC3 | 35.0394 | O8.c
D1 | O9.a | LC3 | 34.9657 | O9.a
D2 | O9.b | LC3 | 35.6403 | O9.b
D3 | O9.c | LC3 | 35.2598 | O9.c
D4 | P1.a | LC3 | 35.2481 | P1.a
D5 | P1.b | LC3 | 35.1251 | P1.b
D6 | P1.c | LC3 | 35.104 | P1.c
D7 | P2.a | LC3 | 36.019 | P2.a
D8 | P2.b | LC3 | 36.8312 | P2.b
D9 | P2.c | LC3 | 35.6808 | P2.c
D10 | P3.a | LC3 | 35.1645 | P3.a
D11 | P3.b | LC3 | 36.6143 | P3.b
D12 | P3.c | LC3 | 35.0829 | P3.c
D13 | P4.a | LC3 | 35.281 | P4.a
D14 | P4.b | LC3 | 35.4841 | P4.b
D15 | P4.c | LC3 | 35.0777 | P4.c
D16 | P5.a | LC3 | 35.7837 | P5.a
D17 | P5.b | LC3 | 35.5084 | P5.b
D18 | P5.c | LC3 | 35.472 | P5.c
D19 | P6.a | LC3 | 36.0142 | P6.a
D20 | P6.b | LC3 | 35.5071 | P6.b
D21 | P6.c | LC3 | 34.9196 | P6.c
D22 | P7.a | LC3 | 33.952 | P7.a
D23 | P7.b | LC3 | 35.7318 | P7.b
D24 | P7.c | LC3 | 34.5974 | P7.c
E1 | P8.a | LC3 | 35.0824 | P8.a
E2 | P8.b | LC3 | 34.5796 | P8.b
E3 | P8.c | LC3 | 34.0961 | P8.c
E4 | P9.a | LC3 | 35.9442 | P9.a
E5 | P9.b | LC3 | 35.7524 | P9.b
E6 | P9.c | LC3 | 35.276 | P9.c
E7 |  | LC3 | Undetermined
E8 |  | LC3 | Undetermined
E9 |  | LC3 | Undetermined
E10 |  | LC3 | Undetermined
E11 |  | LC3 | Undetermined
E12 |  | LC3 | Undetermined
E13 |  | LC3 | Undetermined
E14 |  | LC3 | Undetermined
E15 |  | LC3 | Undetermined
E16 |  | LC3 | Undetermined
E17 |  | LC3 | Undetermined
E18 |  | LC3 | Undetermined
E19 |  | LC3 | Undetermined
E20 |  | LC3 | Undetermined
E21 |  | LC3 | Undetermined
E22 |  | LC3 | Undetermined
E23 |  | LC3 | Undetermined
E24 |  | LC3 | Undetermined
F1 | Blank 1.a | GABARAP | Undetermined | Blank 1.a
F2 | Blank 1.b | GABARAP | Undetermined | Blank 1.b
F3 | Blank 1.c | GABARAP | Undetermined | Blank 1.c
F4 | STD 10a | GABARAP | 22.7792 | STD 10a
F5 | STD 10b | GABARAP | 23.1736 | STD 10b
F6 | STD 10c | GABARAP | 23.2111 | STD 10c
F7 | STD 20a | GABARAP | 24.2841 | STD 20a
F8 | STD 20b | GABARAP | 24.2689 | STD 20b
F9 | STD 20c | GABARAP | 24.2492 | STD 20c
F10 | STD 40a | GABARAP | 25.3616 | STD 40a
F11 | STD 40b | GABARAP | 25.3307 | STD 40b
F12 | STD 40c | GABARAP | Undetermined | STD 40c
F13 | STD 80a | GABARAP | 26.2875 | STD 80a
F14 | STD 80b | GABARAP | 26.2841 | STD 80b
F15 | STD 80c | GABARAP | 25.6219 | STD 80c
F16 | STD 160a | GABARAP | 29.4297 | STD 160a
F17 | STD 160b | GABARAP | 27.5161 | STD 160b
F18 | STD 160c | GABARAP | 27.5068 | STD 160c
F19 | STD 320a | GABARAP | 28.5812 | STD 320a
F20 | STD 320b | GABARAP | 28.5851 | STD 320b
F21 | STD 320c | GABARAP | 28.4241 | STD 320c
F22 | C1.a | GABARAP | 24.7661 | C1.a
F23 | C1.b | GABARAP | 24.2164 | C1.b
F24 | C1.c | GABARAP | Undetermined | C1.c
G1 | C2.a | GABARAP | 23.9524 | C2.a
G2 | C2.b | GABARAP | 24.6641 | C2.b
G3 | C2.c | GABARAP | 25.0147 | C2.c
G4 | C3.a | GABARAP | 25.3886 | C3.a
G5 | C3.b | GABARAP | 25.3567 | C3.b
G6 | C3.c | GABARAP | 25.1011 | C3.c
G7 | C4.a | GABARAP | 25.5503 | C4.a
G8 | C4.b | GABARAP | 25.5609 | C4.b
G9 | C4.c | GABARAP | 25.4762 | C4.c
G10 | C5.a | GABARAP | 25.6665 | C5.a
G11 | C5.b | GABARAP | 32.3572 | C5.b
G12 | C5.c | GABARAP | Undetermined | C5.c
G13 | C6.a | GABARAP | 25.6521 | C6.a
G14 | C6.b | GABARAP | 25.9296 | C6.b
G15 | C6.c | GABARAP | Undetermined | C6.c
G16 | C7.a | GABARAP | 24.8279 | C7.a
G17 | C7.b | GABARAP | 25.4408 | C7.b
G18 | C7.c | GABARAP | 25.5878 | C7.c
G19 | C8.a | GABARAP | 25.1942 | C8.a
G20 | C8.b | GABARAP | 25.0777 | C8.b
G21 | C8.c | GABARAP | 24.8697 | C8.c
G22 | C9.a | GABARAP | 24.7403 | C9.a
G23 | C9.b | GABARAP | Undetermined | C9.b
G24 | C9.c | GABARAP | Undetermined | C9.c
H1 | O1.a | GABARAP | 24.4569 | O1.a
H2 | O1.b | GABARAP | 24.9654 | O1.b
H3 | O1.c | GABARAP | 25.4475 | O1.c
H4 | O2.a | GABARAP | 25.8437 | O2.a
H5 | O2.b | GABARAP | 25.5612 | O2.b
H6 | O2.c | GABARAP | 25.856 | O2.c
H7 | O3.a | GABARAP | 25.1131 | O3.a
H8 | O3.b | GABARAP | 25.3375 | O3.b
H9 | O3.c | GABARAP | 25.2499 | O3.c
H10 | O4.a | GABARAP | 25.4807 | O4.a
H11 | O4.b | GABARAP | Undetermined | O4.b
H12 | O4.c | GABARAP | 25.2609 | O4.c
H13 | O5.a | GABARAP | 25.2816 | O5.a
H14 | O5.b | GABARAP | 25.3769 | O5.b
H15 | O5.c | GABARAP | 24.0376 | O5.c
H16 | O6.a | GABARAP | 24.4495 | O6.a
H17 | O6.b | GABARAP | 25.1256 | O6.b
H18 | O6.c | GABARAP | 25.2039 | O6.c
H19 | O7.a | GABARAP | 25.5226 | O7.a
H20 | O7.b | GABARAP | 25.3096 | O7.b
H21 | O7.c | GABARAP | 25.0625 | O7.c
H22 | O8.a | GABARAP | 25.069 | O8.a
H23 | O8.b | GABARAP | Undetermined | O8.b
H24 | O8.c | GABARAP | 23.6748 | O8.c
I1 | O9.a | GABARAP | 25.128 | O9.a
I2 | O9.b | GABARAP | 24.9667 | O9.b
I3 | O9.c | GABARAP | 25.2365 | O9.c
I4 | P1.a | GABARAP | 25.2224 | P1.a
I5 | P1.b | GABARAP | 25.5957 | P1.b
I6 | P1.c | GABARAP | 24.9541 | P1.c
I7 | P2.a | GABARAP | 25.477 | P2.a
I8 | P2.b | GABARAP | 25.2919 | P2.b
I9 | P2.c | GABARAP | 25.3131 | P2.c
I10 | P3.a | GABARAP | 25.503 | P3.a
I11 | P3.b | GABARAP | 16.0906 | P3.b
I12 | P3.c | GABARAP | 27.0623 | P3.c
I13 | P4.a | GABARAP | 25.7049 | P4.a
I14 | P4.b | GABARAP | 25.4019 | P4.b
I15 | P4.c | GABARAP | 24.298 | P4.c
I16 | P5.a | GABARAP | 24.1763 | P5.a
I17 | P5.b | GABARAP | 25.3487 | P5.b
I18 | P5.c | GABARAP | 25.3385 | P5.c
I19 | P6.a | GABARAP | 25.9216 | P6.a
I20 | P6.b | GABARAP | 25.3583 | P6.b
I21 | P6.c | GABARAP | 25.0115 | P6.c
I22 | P7.a | GABARAP | 25.3607 | P7.a
I23 | P7.b | GABARAP | Undetermined | P7.b
I24 | P7.c | GABARAP | 24.495 | P7.c
J1 | P8.a | GABARAP | 25.359 | P8.a
J2 | P8.b | GABARAP | 25.2846 | P8.b
J3 | P8.c | GABARAP | 25.3319 | P8.c
J4 | P9.a | GABARAP | 25.2757 | P9.a
J5 | P9.b | GABARAP | 25.3772 | P9.b
J6 | P9.c | GABARAP | 25.0962 | P9.c
J7 |  | GABARAP | Undetermined
J8 |  | GABARAP | Undetermined
J9 |  | GABARAP | Undetermined
J10 |  | GABARAP | Undetermined
J11 |  | GABARAP | Undetermined
J12 |  | GABARAP | Undetermined
J13 |  | GABARAP | Undetermined
J14 |  | GABARAP | Undetermined
J15 |  | GABARAP | Undetermined
J16 |  | GABARAP | Undetermined
J17 |  | GABARAP | Undetermined
J18 |  | GABARAP | Undetermined
J19 |  | GABARAP | Undetermined
J20 |  | GABARAP | Undetermined
J21 |  | GABARAP | Undetermined
J22 |  | GABARAP | Undetermined
J23 |  | GABARAP | Undetermined
J24 |  | GABARAP | Undetermined
K1 | Blank 1.a | P62 | Undetermined | Blank 1.a
K2 | Blank 1.b | P62 | Undetermined | Blank 1.b
K3 | Blank 1.c | P62 | Undetermined | Blank 1.c
K4 | STD 10a | P62 | 24.9754 | STD 10a
K5 | STD 10b | P62 | 24.8805 | STD 10b
K6 | STD 10c | P62 | 24.8105 | STD 10c
K7 | STD 20a | P62 | 25.8567 | STD 20a
K8 | STD 20b | P62 | 25.8998 | STD 20b
K9 | STD 20c | P62 | 25.6696 | STD 20c
K10 | STD 40a | P62 | 26.9715 | STD 40a
K11 | STD 40b | P62 | 26.9797 | STD 40b
K12 | STD 40c | P62 | 27.0004 | STD 40c
K13 | STD 80a | P62 | 27.9903 | STD 80a
K14 | STD 80b | P62 | 28.1889 | STD 80b
K15 | STD 80c | P62 | 27.712 | STD 80c
K16 | STD 160a | P62 | 29.026 | STD 160a
K17 | STD 160b | P62 | 29.0176 | STD 160b
K18 | STD 160c | P62 | 29.0866 | STD 160c
K19 | STD 320a | P62 | 30.3192 | STD 320a
K20 | STD 320b | P62 | 30.1991 | STD 320b
K21 | STD 320c | P62 | 30.436 | STD 320c
K22 | C1.a | P62 | 26.9157 | C1.a
K23 | C1.b | P62 | 27.046 | C1.b
K24 | C1.c | P62 | 26.962 | C1.c
L1 | C2.a | P62 | 27.3056 | C2.a
L2 | C2.b | P62 | 27.3186 | C2.b
L3 | C2.c | P62 | 27.2 | C2.c
L4 | C3.a | P62 | 27.1318 | C3.a
L5 | C3.b | P62 | 26.9123 | C3.b
L6 | C3.c | P62 | 26.9917 | C3.c
L7 | C4.a | P62 | 26.8171 | C4.a
L8 | C4.b | P62 | 26.7765 | C4.b
L9 | C4.c | P62 | 26.7832 | C4.c
L10 | C5.a | P62 | 26.8368 | C5.a
L11 | C5.b | P62 | 26.7144 | C5.b
L12 | C5.c | P62 | 26.7995 | C5.c
L13 | C6.a | P62 | 26.6566 | C6.a
L14 | C6.b | P62 | 26.6761 | C6.b
L15 | C6.c | P62 | 26.6624 | C6.c
L16 | C7.a | P62 | 26.9029 | C7.a
L17 | C7.b | P62 | 26.7492 | C7.b
L18 | C7.c | P62 | 26.6767 | C7.c
L19 | C8.a | P62 | 26.3076 | C8.a
L20 | C8.b | P62 | 26.3554 | C8.b
L21 | C8.c | P62 | 26.3397 | C8.c
L22 | C9.a | P62 | 26.3227 | C9.a
L23 | C9.b | P62 | 26.7826 | C9.b
L24 | C9.c | P62 | 26.9589 | C9.c
M1 | O1.a | P62 | 27.0487 | O1.a
M2 | O1.b | P62 | 27.1979 | O1.b
M3 | O1.c | P62 | 26.9191 | O1.c
M4 | O2.a | P62 | 26.9614 | O2.a
M5 | O2.b | P62 | 27.0199 | O2.b
M6 | O2.c | P62 | 26.9607 | O2.c
M7 | O3.a | P62 | 26.6119 | O3.a
M8 | O3.b | P62 | 26.53 | O3.b
M9 | O3.c | P62 | 26.5181 | O3.c
M10 | O4.a | P62 | 26.4029 | O4.a
M11 | O4.b | P62 | 26.5723 | O4.b
M12 | O4.c | P62 | 26.7214 | O4.c
M13 | O5.a | P62 | 26.9002 | O5.a
M14 | O5.b | P62 | 26.861 | O5.b
M15 | O5.c | P62 | 26.8168 | O5.c
M16 | O6.a | P62 | 26.946 | O6.a
M17 | O6.b | P62 | 26.7703 | O6.b
M18 | O6.c | P62 | 26.9286 | O6.c
M19 | O7.a | P62 | 27.1442 | O7.a
M20 | O7.b | P62 | 27.0696 | O7.b
M21 | O7.c | P62 | 27.1925 | O7.c
M22 | O8.a | P62 | 26.6953 | O8.a
M23 | O8.b | P62 | 26.7708 | O8.b
M24 | O8.c | P62 | 26.6897 | O8.c
N1 | O9.a | P62 | 26.948 | O9.a
N2 | O9.b | P62 | 26.9212 | O9.b
N3 | O9.c | P62 | 26.8253 | O9.c
N4 | P1.a | P62 | 27.0326 | P1.a
N5 | P1.b | P62 | 26.9883 | P1.b
N6 | P1.c | P62 | 26.8786 | P1.c
N7 | P2.a | P62 | 26.5392 | P2.a
N8 | P2.b | P62 | 26.7045 | P2.b
N9 | P2.c | P62 | 26.7494 | P2.c
N10 | P3.a | P62 | 26.989 | P3.a
N11 | P3.b | P62 | 26.7669 | P3.b
N12 | P3.c | P62 | 27.1384 | P3.c
N13 | P4.a | P62 | 27.0302 | P4.a
N14 | P4.b | P62 | 27.0567 | P4.b
N15 | P4.c | P62 | 26.8832 | P4.c
N16 | P5.a | P62 | 26.6953 | P5.a
N17 | P5.b | P62 | 26.7311 | P5.b
N18 | P5.c | P62 | 26.739 | P5.c
N19 | P6.a | P62 | 26.87 | P6.a
N20 | P6.b | P62 | 27.0416 | P6.b
N21 | P6.c | P62 | 26.9892 | P6.c
N22 | P7.a | P62 | 27.2158 | P7.a
N23 | P7.b | P62 | 27.3666 | P7.b
N24 | P7.c | P62 | 27.3133 | P7.c
O1 | P8.a | P62 | 26.969 | P8.a
O2 | P8.b | P62 | 26.7801 | P8.b
O3 | P8.c | P62 | 27.0032 | P8.c
O4 | P9.a | P62 | 26.9879 | P9.a
O5 | P9.b | P62 | 27.0623 | P9.b
O6 | P9.c | P62 | 26.9376 | P9.c
O7 |  | P62 | Undetermined
O8 |  | P62 | Undetermined
O9 |  | P62 | Undetermined
O10 |  | P62 | Undetermined
O11 |  | P62 | Undetermined
O12 |  | P62 | Undetermined
O13 |  | P62 | Undetermined
O14 |  | P62 | Undetermined
O15 |  | P62 | Undetermined
O16 |  | P62 | Undetermined
O17 |  | P62 | Undetermined
O18 |  | P62 | Undetermined
O19 |  | P62 | Undetermined
O20 |  | P62 | Undetermined
O21 |  | P62 | Undetermined
O22 |  | P62 | Undetermined
O23 |  | P62 | Undetermined
O24 |  | P62 | Undetermined

## Results Workspace
Well | Ct from reader | Corrected Cts | Sample Name | Average Ct | STDEV
A1 | Undetermined | 40.1 | Blank 1.a | 40.1 | 0
A2 | Undetermined | 40.1 | Blank 1.b
A3 | Undetermined | 40.1 | Blank 1.c
A4 | 32.1103 | 32.1103 | STD 10a | 32.2704 | 0.12548
A5 | 32.4167 | 32.4167 | STD 10b
A6 | 32.2841 | 32.2841 | STD 10c
A7 | 34.3214 |  | STD 20a | 33.3438 | 0.01112
A8 | 33.3549 | 33.3549 | STD 20b
A9 | 33.3327 | 33.3327 | STD 20c
A10 | 35.1671 | 35.1671 | STD 40a | 35.0712 | 0.09593
A11 | 34.9752 | 34.9752 | STD 40b
A12 | 34.6437 |  | STD 40c
A13 | 36.926 | 36.926 | STD 80a | 36.0793 | 0.65006
A14 | 35.9661 | 35.9661 | STD 80b
A15 | 35.3458 | 35.3458 | STD 80c
A16 | 36.3207 | 36.3207 | STD 160a | 36.0164 | 0.3043
A17 | 38.2752 |  | STD 160b
A18 | 35.7121 | 35.7121 | STD 160c
A19 | 37.8685 | 37.8685 | STD 320a | 37.2205 | 0.648
A20 | 36.5725 | 36.5725 | STD 320b
A21 | Undetermined |  | STD 320c
A22 | 34.8391 | 34.8391 | C1.a | 35.5324 | 0.56129
A23 | 35.5444 | 35.5444 | C1.b
A24 | 36.2138 | 36.2138 | C1.c
B1 | 37.8943 |  | C2.a | 34.9375 | 0.31531
B2 | 35.2528 | 35.2528 | C2.b
B3 | 34.6222 | 34.6222 | C2.c
B4 | 34.067 |  | C3.a | 35.1053 | 0.24104
B5 | 35.3463 | 35.3463 | C3.b
B6 | 34.8643 | 34.8643 | C3.c
B7 | 34.5655 | 34.5655 | C4.a | 34.7588 | 0.1933
B8 | 35.7621 |  | C4.b
B9 | 34.9521 | 34.9521 | C4.c
B10 | 35.1614 | 35.1614 | C5.a | 34.7346 | 0.30492
B11 | 34.4681 | 34.4681 | C5.b
B12 | 34.5742 | 34.5742 | C5.c
B13 | 35.2056 | 35.2056 | C6.a | 34.8971 | 0.27967
B14 | 34.5285 | 34.5285 | C6.b
B15 | 34.9571 | 34.9571 | C6.c
B16 | 35.4688 |  | C7.a | 33.9992 | 0.092968
B17 | 33.9063 | 33.9063 | C7.b
B18 | 34.0922 | 34.0922 | C7.c
B19 | 34.4168 | 34.4168 | C8.a | 34.2878 | 0.77318
B20 | 35.1637 | 35.1637 | C8.b
B21 | 33.283 | 33.283 | C8.c
B22 | 33.5852 |  | C9.a | 34.248 | 0.089954
B23 | 34.3379 | 34.3379 | C9.b
B24 | 34.158 | 34.158 | C9.c
C1 | 35.4129 | 35.4129 | O1.a | 34.977 | 0.34855
C2 | 34.5597 | 34.5597 | O1.b
C3 | 34.9584 | 34.9584 | O1.c
C4 | 34.759 | 34.759 | O2.a | 34.8059 | 0.046888
C5 | 35.9419 |  | O2.b
C6 | 34.8528 | 34.8528 | O2.c
C7 | 36.1846 | 36.1846 | O3.a | 35.6991 | 0.34664
C8 | 35.5146 | 35.5146 | O3.b
C9 | 35.3979 | 35.3979 | O3.c
C10 | 34.9413 | 34.9413 | O4.a | 34.9489 | 0.054155
C11 | 35.0186 | 35.0186 | O4.b
C12 | 34.8866 | 34.8866 | O4.c
C13 | 35.067 | 35.067 | O5.a | 35.5178 | 0.36743
C14 | 35.5194 | 35.5194 | O5.b
C15 | 35.967 | 35.967 | O5.c
C16 | 35.1276 | 35.1276 | O6.a | 35.5422 | 0.36315
C17 | 35.4869 | 35.4869 | O6.b
C18 | 36.012 | 36.012 | O6.c
C19 | 35.6824 | 35.6824 | O7.a | 35.3892 | 0.32067
C20 | 34.943 | 34.943 | O7.b
C21 | 35.5422 | 35.5422 | O7.c
C22 | 34.5768 | 34.5768 | O8.a | 34.9137 | 0.24075
C23 | 35.1248 | 35.1248 | O8.b
C24 | 35.0394 | 35.0394 | O8.c
D1 | 34.9657 | 34.9657 | O9.a | 35.2886 | 0.27618
D2 | 35.6403 | 35.6403 | O9.b
D3 | 35.2598 | 35.2598 | O9.c
D4 | 35.2481 | 35.2481 | P1.a | 35.1591 | 0.063553
D5 | 35.1251 | 35.1251 | P1.b
D6 | 35.104 | 35.104 | P1.c
D7 | 36.019 | 36.019 | P2.a | 35.8499 | 0.16911
D8 | 36.8312 |  | P2.b
D9 | 35.6808 | 35.6808 | P2.c
D10 | 35.1645 | 35.1645 | P3.a | 35.1237 | 0.040781
D11 | 36.6143 |  | P3.b
D12 | 35.0829 | 35.0829 | P3.c
D13 | 35.281 | 35.281 | P4.a | 35.2809 | 0.16589
D14 | 35.4841 | 35.4841 | P4.b
D15 | 35.0777 | 35.0777 | P4.c
D16 | 35.7837 | 35.7837 | P5.a | 35.5881 | 0.13916
D17 | 35.5084 | 35.5084 | P5.b
D18 | 35.472 | 35.472 | P5.c
D19 | 36.0142 | 36.0142 | P6.a | 35.4803 | 0.44728
D20 | 35.5071 | 35.5071 | P6.b
D21 | 34.9196 | 34.9196 | P6.c
D22 | 33.952 | 33.952 | P7.a | 34.2747 | 0.32273
D23 | 35.7318 |  | P7.b
D24 | 34.5974 | 34.5974 | P7.c
E1 | 35.0824 | 35.0824 | P8.a | 34.586 | 0.40268
E2 | 34.5796 | 34.5796 | P8.b
E3 | 34.0961 | 34.0961 | P8.c
E4 | 35.9442 | 35.9442 | P9.a | 35.6575 | 0.28091
E5 | 35.7524 | 35.7524 | P9.b
E6 | 35.276 | 35.276 | P9.c
E7 | Undetermined | 40.1 |  | 40.1 | 0
E8 | Undetermined | 40.1
E9 | Undetermined | 40.1
E10 | Undetermined | 40.1 |  | 40.1 | 0
E11 | Undetermined | 40.1
E12 | Undetermined | 40.1
E13 | Undetermined | 40.1 |  | 40.1 | 0
E14 | Undetermined | 40.1
E15 | Undetermined | 40.1
E16 | Undetermined | 40.1 |  | 40.1 | 0
E17 | Undetermined | 40.1
E18 | Undetermined | 40.1
E19 | Undetermined | 40.1 |  | 40.1 | 0
E20 | Undetermined | 40.1
E21 | Undetermined | 40.1
E22 | Undetermined | 40.1 |  | 40.1 | 0
E23 | Undetermined | 40.1
E24 | Undetermined | 40.1
F1 | Undetermined | 40.1 | Blank 1.a | 40.1 | 0
F2 | Undetermined | 40.1 | Blank 1.b
F3 | Undetermined | 40.1 | Blank 1.c
F4 | 22.7792 | 22.7792 | STD 10a | 23.0547 | 0.19536
F5 | 23.1736 | 23.1736 | STD 10b
F6 | 23.2111 | 23.2111 | STD 10c
F7 | 24.2841 | 24.2841 | STD 20a | 24.2674 | 0.01429
F8 | 24.2689 | 24.2689 | STD 20b
F9 | 24.2492 | 24.2492 | STD 20c
F10 | 25.3616 | 25.3616 | STD 40a | 25.3462 | 0.015428
F11 | 25.3307 | 25.3307 | STD 40b
F12 | Undetermined |  | STD 40c
F13 | 26.2875 | 26.2875 | STD 80a | 26.2858 | 0.0016985
F14 | 26.2841 | 26.2841 | STD 80b
F15 | 25.6219 |  | STD 80c
F16 | 29.4297 |  | STD 160a | 27.5114 | 0.0046434
F17 | 27.5161 | 27.5161 | STD 160b
F18 | 27.5068 | 27.5068 | STD 160c
F19 | 28.5812 | 28.5812 | STD 320a | 28.5301 | 0.074975
F20 | 28.5851 | 28.5851 | STD 320b
F21 | 28.4241 | 28.4241 | STD 320c
F22 | 24.7661 | 24.7661 | C1.a | 24.4912 | 0.27485
F23 | 24.2164 | 24.2164 | C1.b
F24 | Undetermined |  | C1.c
G1 | 23.9524 |  | C2.a | 24.8394 | 0.17528
G2 | 24.6641 | 24.6641 | C2.b
G3 | 25.0147 | 25.0147 | C2.c
G4 | 25.3886 | 25.3886 | C3.a | 25.2821 | 0.12868
G5 | 25.3567 | 25.3567 | C3.b
G6 | 25.1011 | 25.1011 | C3.c
G7 | 25.5503 | 25.5503 | C4.a | 25.5291 | 0.037655
G8 | 25.5609 | 25.5609 | C4.b
G9 | 25.4762 | 25.4762 | C4.c
G10 | 25.6665 | 25.6665 | C5.a | 25.6665 | 0
G11 | 32.3572 |  | C5.b
G12 | Undetermined |  | C5.c
G13 | 25.6521 | 25.6521 | C6.a | 25.7908 | 0.13875
G14 | 25.9296 | 25.9296 | C6.b
G15 | Undetermined |  | C6.c
G16 | 24.8279 |  | C7.a | 25.5143 | 0.073502
G17 | 25.4408 | 25.4408 | C7.b
G18 | 25.5878 | 25.5878 | C7.c
G19 | 25.1942 | 25.1942 | C8.a | 25.0472 | 0.13419
G20 | 25.0777 | 25.0777 | C8.b
G21 | 24.8697 | 24.8697 | C8.c
G22 | 24.7403 | 24.7403 | C9.a | 24.7403 | 0
G23 | Undetermined |  | C9.b
G24 | Undetermined |  | C9.c
H1 | 24.4569 | 24.4569 | O1.a | 24.9566 | 0.40445
H2 | 24.9654 | 24.9654 | O1.b
H3 | 25.4475 | 25.4475 | O1.c
H4 | 25.8437 | 25.8437 | O2.a | 25.7536 | 0.13618
H5 | 25.5612 | 25.5612 | O2.b
H6 | 25.856 | 25.856 | O2.c
H7 | 25.1131 | 25.1131 | O3.a | 25.2335 | 0.092337
H8 | 25.3375 | 25.3375 | O3.b
H9 | 25.2499 | 25.2499 | O3.c
H10 | 25.4807 | 25.4807 | O4.a | 25.3708 | 0.1099
H11 | Undetermined |  | O4.b
H12 | 25.2609 | 25.2609 | O4.c
H13 | 25.2816 | 25.2816 | O5.a | 25.3293 | 0.047654
H14 | 25.3769 | 25.3769 | O5.b
H15 | 24.0376 |  | O5.c
H16 | 24.4495 |  | O6.a | 25.1648 | 0.039158
H17 | 25.1256 | 25.1256 | O6.b
H18 | 25.2039 | 25.2039 | O6.c
H19 | 25.5226 | 25.5226 | O7.a | 25.2982 | 0.18801
H20 | 25.3096 | 25.3096 | O7.b
H21 | 25.0625 | 25.0625 | O7.c
H22 | 25.069 | 25.069 | O8.a | 24.3719 | 0.69712
H23 | Undetermined |  | O8.b
H24 | 23.6748 | 23.6748 | O8.c
I1 | 25.128 | 25.128 | O9.a | 25.1104 | 0.11085
I2 | 24.9667 | 24.9667 | O9.b
I3 | 25.2365 | 25.2365 | O9.c
I4 | 25.2224 | 25.2224 | P1.a | 25.0883 | 0.13415
I5 | 25.5957 |  | P1.b
I6 | 24.9541 | 24.9541 | P1.c
I7 | 25.477 | 25.477 | P2.a | 25.3607 | 0.082723
I8 | 25.2919 | 25.2919 | P2.b
I9 | 25.3131 | 25.3131 | P2.c
I10 | 25.503 | 25.503 | P3.a | 26.2826 | 0.77968
I11 | 16.0906 |  | P3.b
I12 | 27.0623 | 27.0623 | P3.c
I13 | 25.7049 | 25.7049 | P4.a | 25.5534 | 0.15149
I14 | 25.4019 | 25.4019 | P4.b
I15 | 24.298 |  | P4.c
I16 | 24.1763 |  | P5.a | 25.3436 | 0.0050907
I17 | 25.3487 | 25.3487 | P5.b
I18 | 25.3385 | 25.3385 | P5.c
I19 | 25.9216 | 25.9216 | P6.a | 25.4305 | 0.37502
I20 | 25.3583 | 25.3583 | P6.b
I21 | 25.0115 | 25.0115 | P6.c
I22 | 25.3607 | 25.3607 | P7.a | 24.9278 | 0.43283
I23 | Undetermined |  | P7.b
I24 | 24.495 | 24.495 | P7.c
J1 | 25.359 | 25.359 | P8.a | 25.3252 | 0.030767
J2 | 25.2846 | 25.2846 | P8.b
J3 | 25.3319 | 25.3319 | P8.c
J4 | 25.2757 | 25.2757 | P9.a | 25.2497 | 0.1162
J5 | 25.3772 | 25.3772 | P9.b
J6 | 25.0962 | 25.0962 | P9.c
J7 | Undetermined | 40.1 |  | 40.1 | 0
J8 | Undetermined | 40.1
J9 | Undetermined | 40.1
J10 | Undetermined | 40.1 |  | 40.1 | 0
J11 | Undetermined | 40.1
J12 | Undetermined | 40.1
J13 | Undetermined | 40.1 |  | 40.1 | 0
J14 | Undetermined | 40.1
J15 | Undetermined | 40.1
J16 | Undetermined | 40.1 |  | 40.1 | 0
J17 | Undetermined | 40.1
J18 | Undetermined | 40.1
J19 | Undetermined | 40.1 |  | 40.1 | 0
J20 | Undetermined | 40.1
J21 | Undetermined | 40.1
J22 | Undetermined | 40.1 |  | 40.1 | 0
J23 | Undetermined | 40.1
J24 | Undetermined | 40.1
K1 | Undetermined | 40.1 | Blank 1.a | 40.1 | 0
K2 | Undetermined | 40.1 | Blank 1.b
K3 | Undetermined | 40.1 | Blank 1.c
K4 | 24.9754 | 24.9754 | STD 10a | 24.8888 | 0.067589
K5 | 24.8805 | 24.8805 | STD 10b
K6 | 24.8105 | 24.8105 | STD 10c
K7 | 25.8567 | 25.8567 | STD 20a | 25.8087 | 0.099936
K8 | 25.8998 | 25.8998 | STD 20b
K9 | 25.6696 | 25.6696 | STD 20c
K10 | 26.9715 | 26.9715 | STD 40a | 26.9839 | 0.012155
K11 | 26.9797 | 26.9797 | STD 40b
K12 | 27.0004 | 27.0004 | STD 40c
K13 | 27.9903 | 27.9903 | STD 80a | 27.9637 | 0.1956
K14 | 28.1889 | 28.1889 | STD 80b
K15 | 27.712 | 27.712 | STD 80c
K16 | 29.026 | 29.026 | STD 160a | 29.0434 | 0.030742
K17 | 29.0176 | 29.0176 | STD 160b
K18 | 29.0866 | 29.0866 | STD 160c
K19 | 30.3192 | 30.3192 | STD 320a | 30.3181 | 0.096719
K20 | 30.1991 | 30.1991 | STD 320b
K21 | 30.436 | 30.436 | STD 320c
K22 | 26.9157 | 26.9157 | C1.a | 26.9745 | 0.053924
K23 | 27.046 | 27.046 | C1.b
K24 | 26.962 | 26.962 | C1.c
L1 | 27.3056 | 27.3056 | C2.a | 27.2747 | 0.053104
L2 | 27.3186 | 27.3186 | C2.b
L3 | 27.2 | 27.2 | C2.c
L4 | 27.1318 | 27.1318 | C3.a | 27.0119 | 0.090717
L5 | 26.9123 | 26.9123 | C3.b
L6 | 26.9917 | 26.9917 | C3.c
L7 | 26.8171 | 26.8171 | C4.a | 26.7922 | 0.017758
L8 | 26.7765 | 26.7765 | C4.b
L9 | 26.7832 | 26.7832 | C4.c
L10 | 26.8368 | 26.8368 | C5.a | 26.7835 | 0.051201
L11 | 26.7144 | 26.7144 | C5.b
L12 | 26.7995 | 26.7995 | C5.c
L13 | 26.6566 | 26.6566 | C6.a | 26.665 | 0.0081607
L14 | 26.6761 | 26.6761 | C6.b
L15 | 26.6624 | 26.6624 | C6.c
L16 | 26.9029 | 26.9029 | C7.a | 26.7763 | 0.094323
L17 | 26.7492 | 26.7492 | C7.b
L18 | 26.6767 | 26.6767 | C7.c
L19 | 26.3076 | 26.3076 | C8.a | 26.3342 | 0.019915
L20 | 26.3554 | 26.3554 | C8.b
L21 | 26.3397 | 26.3397 | C8.c
L22 | 26.3227 |  | C9.a | 26.8707 | 0.088154
L23 | 26.7826 | 26.7826 | C9.b
L24 | 26.9589 | 26.9589 | C9.c
M1 | 27.0487 | 27.0487 | O1.a | 27.0552 | 0.11393
M2 | 27.1979 | 27.1979 | O1.b
M3 | 26.9191 | 26.9191 | O1.c
M4 | 26.9614 | 26.9614 | O2.a | 26.9807 | 0.027719
M5 | 27.0199 | 27.0199 | O2.b
M6 | 26.9607 | 26.9607 | O2.c
M7 | 26.6119 | 26.6119 | O3.a | 26.5533 | 0.041736
M8 | 26.53 | 26.53 | O3.b
M9 | 26.5181 | 26.5181 | O3.c
M10 | 26.4029 | 26.4029 | O4.a | 26.5656 | 0.13014
M11 | 26.5723 | 26.5723 | O4.b
M12 | 26.7214 | 26.7214 | O4.c
M13 | 26.9002 | 26.9002 | O5.a | 26.8594 | 0.03404
M14 | 26.861 | 26.861 | O5.b
M15 | 26.8168 | 26.8168 | O5.c
M16 | 26.946 | 26.946 | O6.a | 26.8817 | 0.079067
M17 | 26.7703 | 26.7703 | O6.b
M18 | 26.9286 | 26.9286 | O6.c
M19 | 27.1442 | 27.1442 | O7.a | 27.1354 | 0.050573
M20 | 27.0696 | 27.0696 | O7.b
M21 | 27.1925 | 27.1925 | O7.c
M22 | 26.6953 | 26.6953 | O8.a | 26.7186 | 0.036969
M23 | 26.7708 | 26.7708 | O8.b
M24 | 26.6897 | 26.6897 | O8.c
N1 | 26.948 | 26.948 | O9.a | 26.8981 | 0.052696
N2 | 26.9212 | 26.9212 | O9.b
N3 | 26.8253 | 26.8253 | O9.c
N4 | 27.0326 | 27.0326 | P1.a | 26.9665 | 0.064722
N5 | 26.9883 | 26.9883 | P1.b
N6 | 26.8786 | 26.8786 | P1.c
N7 | 26.5392 | 26.5392 | P2.a | 26.6644 | 0.090402
N8 | 26.7045 | 26.7045 | P2.b
N9 | 26.7494 | 26.7494 | P2.c
N10 | 26.989 | 26.989 | P3.a | 26.9648 | 0.15264
N11 | 26.7669 | 26.7669 | P3.b
N12 | 27.1384 | 27.1384 | P3.c
N13 | 27.0302 | 27.0302 | P4.a | 26.99 | 0.076334
N14 | 27.0567 | 27.0567 | P4.b
N15 | 26.8832 | 26.8832 | P4.c
N16 | 26.6953 | 26.6953 | P5.a | 26.7218 | 0.019005
N17 | 26.7311 | 26.7311 | P5.b
N18 | 26.739 | 26.739 | P5.c
N19 | 26.87 | 26.87 | P6.a | 26.9669 | 0.071838
N20 | 27.0416 | 27.0416 | P6.b
N21 | 26.9892 | 26.9892 | P6.c
N22 | 27.2158 | 27.2158 | P7.a | 27.2985 | 0.062454
N23 | 27.3666 | 27.3666 | P7.b
N24 | 27.3133 | 27.3133 | P7.c
O1 | 26.969 | 26.969 | P8.a | 26.9174 | 0.098102
O2 | 26.7801 | 26.7801 | P8.b
O3 | 27.0032 | 27.0032 | P8.c
O4 | 26.9879 | 26.9879 | P9.a | 26.9959 | 0.051235
O5 | 27.0623 | 27.0623 | P9.b
O6 | 26.9376 | 26.9376 | P9.c
O7 | Undetermined | 40.1 |  | 40.1 | 0
O8 | Undetermined | 40.1
O9 | Undetermined | 40.1
O10 | Undetermined | 40.1 |  | 40.1 | 0
O11 | Undetermined | 40.1
O12 | Undetermined | 40.1
O13 | Undetermined | 40.1 |  | 40.1 | 0
O14 | Undetermined | 40.1
O15 | Undetermined | 40.1
O16 | Undetermined | 40.1 |  | 40.1 | 0
O17 | Undetermined | 40.1
O18 | Undetermined | 40.1
O19 | Undetermined | 40.1 |  | 40.1 | 0
O20 | Undetermined | 40.1
O21 | Undetermined | 40.1
O22 | Undetermined | 40.1 |  | 40.1 | 0
O23 | Undetermined | 40.1
O24 | Undetermined | 40.1

## LC3
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
STD 10a | 32.2704 | 0.12548 | 0.3888% | 0.1 | -1
STD 20a | 33.3438 | 0.01112 | 0.03335% | 0.05 | -1.301
STD 40a | 35.0712 | 0.09593 | 0.2735% | 0.025 | -1.6021
STD 80a | 36.0793 | 0.65006 | 1.802% | 0.0125 | -1.9031
STD 160a | 36.0164 | 0.3043 | 0.8449% | 0.00625 | -2.2041
STD 320a | 37.2205 | 0.648 | 1.741% | 0.003125 | -2.5051
| Slope | -3.2058
| Efficiency | 2.0508
| Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20) | deltadelta Ct
| Blank 1.a | 40.1 | 0 | 0% | 0.0078074
| STD 10a | 32.2704 | 0.12548 | 0.3888% | 2.1619
| STD 20a | 33.3438 | 0.01112 | 0.03335% | 1
| STD 40a | 35.0712 | 0.09593 | 0.2735% | 0.28918
| STD 80a | 36.0793 | 0.65006 | 1.802% | 0.14018
| STD 160a | 36.0164 | 0.3043 | 0.8449% | 0.14667
| STD 320a | 37.2205 | 0.648 | 1.741% | 0.061762
| C1.a | 35.5324 | 0.56129 | 1.58% | 0.20763 | 0.4608
| C2.a | 34.9375 | 0.31531 | 0.9025% | 0.31831 | 0.70645
| C3.a | 35.1053 | 0.24104 | 0.6866% | 0.28218 | 0.62625
| C4.a | 34.7588 | 0.1933 | 0.5561% | 0.36191 | 0.8032
| C5.a | 34.7346 | 0.30492 | 0.8779% | 0.36827 | 0.81731
| C6.a | 34.8971 | 0.27967 | 0.8014% | 0.3277 | 0.72729
| C7.a | 33.9992 | 0.092968 | 0.2734% | 0.62451 | 1.386
| C8.a | 34.2878 | 0.77318 | 2.255% | 0.5076 | 1.1265
| C9.a | 34.248 | 0.089954 | 0.2627% | 0.52233 | 1.1592
| O1.a | 34.977 | 0.34855 | 0.9965% | 0.30942 | 0.68671
| O2.a | 34.8059 | 0.046888 | 0.1347% | 0.34987 | 0.77648
| O3.a | 35.6991 | 0.34664 | 0.971% | 0.18421 | 0.40882
| O4.a | 34.9489 | 0.054155 | 0.155% | 0.31573 | 0.70072
| O5.a | 35.5178 | 0.36743 | 1.034% | 0.20982 | 0.46567
| O6.a | 35.5422 | 0.36315 | 1.022% | 0.20618 | 0.45759
| O7.a | 35.3892 | 0.32067 | 0.9061% | 0.23013 | 0.51073
| O8.a | 34.9137 | 0.24075 | 0.6896% | 0.32381 | 0.71865
| O9.a | 35.2886 | 0.27618 | 0.7826% | 0.24737 | 0.549
| P1.a | 35.1591 | 0.063553 | 0.1808% | 0.27148 | 0.60252
| P2.a | 35.8499 | 0.16911 | 0.4717% | 0.16529 | 0.36684
| P3.a | 35.1237 | 0.040781 | 0.1161% | 0.27848 | 0.61804
| P4.a | 35.2809 | 0.16589 | 0.4702% | 0.24874 | 0.55203
| P5.a | 35.5881 | 0.13916 | 0.391% | 0.19949 | 0.44275
| P6.a | 35.4803 | 0.44728 | 1.261% | 0.21555 | 0.47838
| P7.a | 34.2747 | 0.32273 | 0.9416% | 0.51241 | 1.1372
| P8.a | 34.586 | 0.40268 | 1.164% | 0.40974 | 0.90935
| P9.a | 35.6575 | 0.28091 | 0.7878% | 0.18978 | 0.4212

## GABARAP
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
STD 10a | 23.0547 | 0.19536 | 0.8474% | 0.1 | -1
STD 20a | 24.2674 | 0.01429 | 0.05889% | 0.05 | -1.301
STD 40a | 25.3462 | 0.015428 | 0.06087% | 0.025 | -1.6021
STD 80a | 26.2858 | 0.0016985 | 0.006462% | 0.0125 | -1.9031
STD 160a | 27.5114 | 0.0046434 | 0.01688% | 0.00625 | -2.2041
STD 320a | 28.5301 | 0.074975 | 0.2628% | 0.003125 | -2.5051
| Slope | -3.6113
| Efficiency | 1.8919
| Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20) | deltadelta Ct
| Blank 1.a | 40.1 | 0 | 0% | 4.129e-05
| STD 10a | 23.0547 | 0.19536 | 0.8474% | 2.1667
| STD 20a | 24.2674 | 0.01429 | 0.05889% | 1
| STD 40a | 25.3462 | 0.015428 | 0.06087% | 0.50266
| STD 80a | 26.2858 | 0.0016985 | 0.006462% | 0.27611
| STD 160a | 27.5114 | 0.0046434 | 0.01688% | 0.12639
| STD 320a | 28.5301 | 0.074975 | 0.2628% | 0.066011
| C1.a | 24.4912 | 0.27485 | 1.122% | 0.867 | 1.9242
| C2.a | 24.8394 | 0.17528 | 0.7056% | 0.6944 | 1.5411
| C3.a | 25.2821 | 0.12868 | 0.509% | 0.52361 | 1.1621
| C4.a | 25.5291 | 0.037655 | 0.1475% | 0.44731 | 0.99274
| C5.a | 25.6665 | 0 | 0% | 0.40981 | 0.90952
| C6.a | 25.7908 | 0.13875 | 0.538% | 0.37856 | 0.84017
| C7.a | 25.5143 | 0.073502 | 0.2881% | 0.45157 | 1.0022
| C8.a | 25.0472 | 0.13419 | 0.5358% | 0.60823 | 1.3499
| C9.a | 24.7403 | 0 | 0% | 0.7397 | 1.6416
| O1.a | 24.9566 | 0.40445 | 1.621% | 0.64439 | 1.4301
| O2.a | 25.7536 | 0.13618 | 0.5288% | 0.38766 | 0.86035
| O3.a | 25.2335 | 0.092337 | 0.3659% | 0.54009 | 1.1987
| O4.a | 25.3708 | 0.1099 | 0.4332% | 0.49482 | 1.0982
| O5.a | 25.3293 | 0.047654 | 0.1881% | 0.5081 | 1.1277
| O6.a | 25.1648 | 0.039158 | 0.1556% | 0.5643 | 1.2524
| O7.a | 25.2982 | 0.18801 | 0.7432% | 0.51826 | 1.1502
| O8.a | 24.3719 | 0.69712 | 2.86% | 0.93552 | 2.0762
| O9.a | 25.1104 | 0.11085 | 0.4414% | 0.58421 | 1.2966
| P1.a | 25.0883 | 0.13415 | 0.5347% | 0.5925 | 1.315
| P2.a | 25.3607 | 0.082723 | 0.3262% | 0.49803 | 1.1053
| P3.a | 26.2826 | 0.77968 | 2.967% | 0.27667 | 0.61403
| P4.a | 25.5534 | 0.15149 | 0.5928% | 0.44045 | 0.97752
| P5.a | 25.3436 | 0.0050907 | 0.02009% | 0.50348 | 1.1174
| P6.a | 25.4305 | 0.37502 | 1.475% | 0.47635 | 1.0572
| P7.a | 24.9278 | 0.43283 | 1.736% | 0.65631 | 1.4566
| P8.a | 25.3252 | 0.030767 | 0 | 0.50943 | 1.1306
| P9.a | 25.2497 | 0.1162 | 0 | 0.53455 | 1.1863

## P62
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
STD 10a | 24.8888 | 0.067589 | 0.2716% | 0.1 | -1
STD 20a | 25.8087 | 0.099936 | 0.3872% | 0.05 | -1.301
STD 40a | 26.9839 | 0.012155 | 0.04505% | 0.025 | -1.6021
STD 80a | 27.9637 | 0.1956 | 0.6995% | 0.0125 | -1.9031
STD 160a | 29.0434 | 0.030742 | 0.1058% | 0.00625 | -2.2041
STD 320a | 30.3181 | 0.096719 | 0.319% | 0.003125 | -2.5051
| Slope | -3.5906
| Efficiency | 1.8989
| Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20) | deltadelta Ct
| Blank 1.a | 40.1 | 0 | 0% | 0.00010466
| STD 10a | 24.8888 | 0.067589 | 0.2716% | 1.8039
| STD 20a | 25.8087 | 0.099936 | 0.3872% | 1
| STD 40a | 26.9839 | 0.012155 | 0.04505% | 0.47065
| STD 80a | 27.9637 | 0.1956 | 0.6995% | 0.25108
| STD 160a | 29.0434 | 0.030742 | 0.1058% | 0.12563
| STD 320a | 30.3181 | 0.096719 | 0.319% | 0.055477
| C1.a | 26.9745 | 0.053924 | 0.1999% | 0.47348 | 1.0508
| C2.a | 27.2747 | 0.053104 | 0.1947% | 0.39057 | 0.86681
| C3.a | 27.0119 | 0.090717 | 0.3358% | 0.46226 | 1.0259
| C4.a | 26.7922 | 0.017758 | 0.06628% | 0.53221 | 1.1811
| C5.a | 26.7835 | 0.051201 | 0.1912% | 0.53518 | 1.1877
| C6.a | 26.665 | 0.0081607 | 0.0306% | 0.57745 | 1.2816
| C7.a | 26.7763 | 0.094323 | 0.3523% | 0.53768 | 1.1933
| C8.a | 26.3342 | 0.019915 | 0.07562% | 0.7139 | 1.5844
| C9.a | 26.8707 | 0.088154 | 0.3281% | 0.50608 | 1.1232
| O1.a | 27.0552 | 0.11393 | 0.4211% | 0.44961 | 0.99783
| O2.a | 26.9807 | 0.027719 | 0.1027% | 0.47163 | 1.0467
| O3.a | 26.5533 | 0.041736 | 0.1572% | 0.62032 | 1.3767
| O4.a | 26.5656 | 0.13014 | 0.4899% | 0.61548 | 1.366
| O5.a | 26.8594 | 0.03404 | 0.1267% | 0.50978 | 1.1314
| O6.a | 26.8817 | 0.079067 | 0.2941% | 0.50254 | 1.1153
| O7.a | 27.1354 | 0.050573 | 0.1864% | 0.42707 | 0.94782
| O8.a | 26.7186 | 0.036969 | 0.1384% | 0.55794 | 1.2383
| O9.a | 26.8981 | 0.052696 | 0.1959% | 0.49726 | 1.1036
| P1.a | 26.9665 | 0.064722 | 0.24% | 0.47593 | 1.0562
| P2.a | 26.6644 | 0.090402 | 0.339% | 0.57769 | 1.2821
| P3.a | 26.9648 | 0.15264 | 0.5661% | 0.47646 | 1.0574
| P4.a | 26.99 | 0.076334 | 0.2828% | 0.4688 | 1.0404
| P5.a | 26.7218 | 0.019005 | 0.07112% | 0.55679 | 1.2357
| P6.a | 26.9669 | 0.071838 | 0.2664% | 0.4758 | 1.056
| P7.a | 27.2985 | 0.062454 | 0.2288% | 0.38465 | 0.85367
| P8.a | 26.9174 | 0.098102 | 0 | 0.49115 | 1.09
| P9.a | 26.9959 | 0.051235 | 0 | 0.46703 | 1.0365

## Housekeeper summary
| B2M | HMBS | YWHA2 | geometric mean
C1.a | 0.42639 | 0.35253 | 0.60859 | 0.45058
C2.a | 0.31513 | 0.44111 | 0.52651 | 0.41829
C3.a | 0.45274 | 0.44945 | 0.56497 | 0.48624
C4.a | 0.38295 | 0.46152 | 0.54473 | 0.45832
C5.a | 0.42833 | 0.42336 | 0.53524 | 0.45956
C6.a | 0.35794 | 0.38296 | 0.57186 | 0.42797
C7.a | 0.3734 | 0.48234 | 0.51357 | 0.45225
C8.a | 0.35503 | 0.61615 | 0.7388 | 0.5447
C9.a | 0.41593 | 0.62216 | 0.63445 | 0.54757
O1.a | 0.45842 | 0.43456 | 0.55126 | 0.47888
O2.a | 0.43374 | 0.32981 | 0.48403 | 0.41063
O3.a | 0.40114 | 0.42898 | 0.59541 | 0.46793
O4.a | 0.38461 | 0.43705 | 0.68012 | 0.48534
O5.a | 0.39546 | 0.41032 | 0.53105 | 0.44169
O6.a | 0.41179 | 0.4622 | 0.58845 | 0.48203
O7.a | 0.27877 | 0.4531 | 0.50036 | 0.39833
O8.a | 0.53438 | 0.54286 | 0.65415 | 0.57465
O9.a | 0.44652 | 0.45632 | 0.62138 | 0.50214
P1.a | 0.52156 | 0.50155 | 0.62159 | 0.54581
P2.a | 0.40358 | 0.42015 | 0.61321 | 0.47024
P3.a | 0.35087 | 0.34359 | 0.49458 | 0.39067
P4.a | 0.4482 | 0.40255 | 0.54063 | 0.46032
P5.a | 0.46135 | 0.5266 | 0.65653 | 0.54232
P6.a | 0.36912 | 0.40469 | 0.55027 | 0.4348
P7.a | 0.36964 | 0.50859 | 0.55081 | 0.46959
P8.a | 0.50392 | 0.42419 | 0.65649 | 0.51966
P9.a | 0.2439 | 0.56726 | 0.75713 | 0.4714